## Proposed Changes Measure Mix
Measure | HPwES | AHPwES & DDD
Assessment Measures
Assessment Customer Incentive | 75% up to $300 | 75% up to $350
Customer Co-Pay for Assessment | 100 | 50
Weatherization Measures
Air Sealing 20% Improvement | 700 | 800
Air Sealing 30% Improvement | 950 | 1150
Air Sealing 40% Improvement | 1100 | 1350
Duct Sealing 20% Improvement | 500 | 600
Add R-19 Attic Insulation | 900 | 1100
Add R-30 Attic Insulation | 1000 | 1200
Knee Walls | 225 | 300
Rim Joist | 150 | 200
Floor/Crawlspace Insulation | 600 | 800
Wall Insulation (min 50% of walls) | 1600 | 2100
HVAC and Water Heating (Measures)
Heat Pumps Tier 1 (=>16 SEER and =>12.5 EER and =>8.5 HSPF or =>2.5 COP) | 500 | 800
Heat Pumps Tier 2 (=>17 SEER and =>12.5 EER and =>9.0 HSPF or =>2.6 COP) | 800 | 1200
Mini-Split HP (=>17 SEER and =>12.5 EER and => 9.0 HSPF or =>2.6 COP) | 400 | 900
Mini-Split HP (=>21 SEER and =>12.5 EER and => 10.0 HSPF or =>2.9 COP) | 600 | 1000
CAC Tier 1 (=>16 SEER and =>12.5 EER) | 400 | 900
CAC Tier 2 (=>17 SEER and =>12.5 EER) | 650 | 1000
Furnace Tier 1 (94+AFUE w/ECM) | 400 | 900
Furnace Tier 2 (96+AFUE w/ECM) | 550 | 1000
Boiler (85+AFUE) | 650 | 1000
Boiler (90+AFUE) | 800 | 1100
Heat Pump Water Heater | 600 | 800
Tankless Water Heater (Gas/Propane) | 600 | 800
Smart Thermostat | 150 | 200
Direct Vent LP/NG Water Heater (≤55 gallons: EF ≥ 0.67 & UEF ≥ 0.64 / >55 gallons: EF ≥ 0.67 & UEF ≥ 0.85) | 100 | 150
Condensing Boiler with On-Demand Hot Water (90+ AFUE) | 1000 | 1200